## Slide 1: Development of an Ultra High dynamic range Third Order Cross-correlator for 10-14 Ultra High Contrast Laser
PM Paul1, L.Vigroux1, L.Canova2, F.Falcoz1, P.Leroy1,
P.Monot3, G. Riboulet1
LOA-ENSTA

## Slide 2
Introduction : why high contrast for PW
Class laser?
Generating high energy (>1 mJ) XPW
Results in double CPA configuration
How to measure very High Contrast ?
Conclusions
OUTLINE
Notes: A short outline of my talk
I will first make a brief introduction on why high contrast is needed for high energy laser
I will then present the results we have obtained on high energy XPW
I will show results when this XPW is integrated in a double CPA scheme
Then I will explain how we have measured this very high contrats

## Slide 3
150 TW DRACO
FZD, Germany
17 MeV
Obtained with PULSAR from AMPLITUDE TECHNOLOGIES
The contrast ratio on
the ASE was 1010
Notes: One of the main application of high energy laser is the acceleration of particles like protons for example.
Recent experiments have demonstrated high energy protons (around 17MeV) obtained from a table top 100 TW laser from amplitude technologies

## Slide 4
For PW class laser, a contrast better than 1012 is required
IASE has to be < 1010 W/cm²
The ASE intensity is enough to generate a pre-plasma. The main Pulse will interact with an expanding plasma.
time
Notes: When we focus a beam on a solid target the contrast between the main pulse and the ASE is very important.
The red and green curves represent the desired shape of the pulse on the target.
If the level of the ASE is above 1010 W/cm² it can create a preplasma that destroy the target
That means that for a PW class laser the contrast has to be better than 10 12

## Slide 5: Contrast Enhancement in PW Class laser Systems
M. Kalashnikov, Modern Problems of Laser Physics (2006)
Notes: To obtain contrast better than 10-12, several tens of microjoule has to be seeded, this requires a double CPA scheme

## Slide 6: XPW Current Limitations
XPW
IR
Input Energy is limited to  200 J
 = 10-30 %
Available seed energy for the second CPA is 20-70 J
(3)
For efficient Contrast Cleaning, Higher XPW energy must be obtained
XPW is the non linear filter that will be used to reach the contrast
However :

## Slide 7: Demonstration of high energy XPW
CPA Laser system
XPW Module
Oscillator
Stretcher+
Dazzler
RGA+Mazzler
MPA
Compressor
CW Pump Laser
10 Hz Pump Laser
The first CPA is based on a standard system pumped at 10 Hz

## Slide 8: Laser system characterization
Chart: Time Delay (s)

## Slide 9: XPW characterization
XPW Spectrum is 1.6 times broader than the Fundamental input spectrum
Fundamental spectrum 80 nm FWHM
XPW spectrum 130 nm FWHM

## Slide 10: XPW characterization
Up to 1.1 mJ is obtained
Notes: Jean-Paul avait promis une bouteille de champagne au premier qui ferait plus d’1 mJ d’XPW, on attend encore…

## Slide 11: XPW characterization
The Temporal contrast
Is cleaned by 5 orders
Of magnitude

## Slide 12: Double CPA scheme
CPA Laser system
XPW Module
CPA Laser system
Oscillator
Stretcher+
Dazzler
RGA+Mazzler
MPA
Compressor
CW Pump Laser
10 Hz Pump Laser
Pre-Amp+
SA
As the contrast of 105 is not enough, the first CPA has been modified to include a saturable aborber
Output from the second CPA:
4 mJ/pulse at 10 Hz
50 nm bandwidth
Notes: To obtain very high contrast, the front must be high contrast 10-11 instead of 10-5. the saturable cleaning technique is used in the front end

## Slide 13
Detection limit
10-14 Contrast has been achieved

## Slide 14
Detection limit of a standard SEQUOIA : 1012
Goal: Increase of the dynamic range of the Sequoia
Decrease of minimum measurable signal by reducing the equivalent noise power
  Hardware (Optics and Electronics)
Increase the input power/ intensity Handling the 2 saturation, modulating the  arm.
Increase the intensity on the THG crystal for weak signals
How to Measure Ultra High Contrast ?

## Slide 15
Frequency doubling
Frequency mixing
Detector
2w=delta fonction
Variable delay line
Acquisition
Delta function=frequency doubling
Signal=3
Variable attenuator
Density filters have been moved from the input beam to the infrared path in the sequoia => possible to increase the energy on the 2w arm
How does the 2 saturation affects the measured temporal profile ?

## Slide 16
Two points must be verified :
- What is the value of the 2 saturation energy ?
- What is the impact onto the temporal profile ?
0.25 mJ
0.5
1.15
3
5 mJ
Saturation Energy1 mJ
SHG Saturation Energy
Notes: The measurement on rigth hand side are not corrected for the density filters attenuation, that’s why there is 3 orders of magnitude difference bewteen max and min values of the energy.

## Slide 17
5 mJ
10 mJ
20 mJ
50 mJ
100 mJ
Pulse broadening
Starts at 20 mJ
Reference profile 0.25mJ
2w
Cross correlation

## Slide 18
Référence 0.25 mJ
Mesuré 5 mJ
Simulation 5 mJ
Simulations and measurements show that saturation of the SHG does not affect the temporal profile for energy below 20 mJ
=> Around 2 orders of magnitude better should be possible.

## Slide 19: First Measurements
The Incoherent part is slightly driven into saturation
Chart: Time (s)
unsaturated
Saturated part
Chart: Time (s)
Reconnect here
Notes: About 2 orders increase of the signal in the incoherent part, then reconstruction of the whole curve

## Slide 20: Contrast ratio measurement

## Slide 21: Conclusions
We have demonstrated the possibility to generate high energy XPW radiation up to 1 mJ
XPW is a good candidate for non linear filtering to obtain short pulses with very High contrast (10-14)
Measurement with 14 orders dynamic are possible but improvements in high dynamic range tools still need to be done